## CREATED BY EDWIN CABALLERO
PREDICTED VS REFERENCE PLOT
| DP Method: |  |  |  | Factor: | 1 |  | Range: | 995-1026 |  |  |  | UNIT
| Copy/Paste Values to this 3 columns |  |  | Don't touch these 3 columns |  |  | Units | UNITS | [5 empty] | X | Y
|  | Y Predicted | Y Reference |  |  |  | X Axis | X AXIS NAME |  |  |  |  | Upper | 5 | 5 | Upper
|  | INSERT UNITS | INSERT UNITS | Ref^2 | Residuals | Residuals^2 | Y Axis | Y AXIS NAME |  |  |  |  | Lower | 0.75 | 0.75 | Lower
s | Sample 1 | 5 | 5 | 25 | 0 | 0
s | Sample 2 | 5 | 5 | 25 | 0 | 0 |  | Values
s | Sample 3 | 5 | 5 | 25 | 0 | 0 | Slope | 1
s | Sample 4 | 5 | 5 | 25 | 0 | 0 | Intercept | 0
s | Sample 5 | 5 | 5 | 25 | 0 | 0 | RMSEP | 0 | 68%
s | Sample 6 | 5 | 5 | 25 | 0 | 0 | RMSEP | 0 | 95%
s | Sample 7 | 5 | 5 | 25 | 0 | 0 | %RSEP | 0% | Good
s | Sample 8 | 5 | 5 | 25 | 0 | 0 | SEP | 0
s | Sample 9 | 5 | 5 | 25 | 0 | 0 | bias | 0 | Great
s | Sample 10 | 5 | 5 | 25 | 0 | 0 | %over |  | #VALUE!
s | Sample 11 | 3 | 3 | 9 | 0 | 0 | %under |  | #VALUE!
s | Sample 12 | 3 | 3 | 9 | 0 | 0 | RPD | #DIV/0! | #DIV/0!
s | Sample 13 | 3 | 3 | 9 | 0 | 0 | RER | #DIV/0! | #DIV/0!
s | Sample 14 | 3 | 3 | 9 | 0 | 0
s | Sample 15 | 3 | 3 | 9 | 0 | 0 | n | 70
s | Sample 16 | 3 | 3 | 9 | 0 | 0
s | Sample 17 | 3 | 3 | 9 | 0 | 0
s | Sample 18 | 3 | 3 | 9 | 0 | 0
s | Sample 19 | 3 | 3 | 9 | 0 | 0
s | Sample 20 | 3 | 3 | 9 | 0 | 0
s | Sample 21 | 3 | 3 | 9 | 0 | 0
s | Sample 22 | 3 | 3 | 9 | 0 | 0
s | Sample 23 | 3 | 3 | 9 | 0 | 0
s | Sample 24 | 3 | 3 | 9 | 0 | 0
s | Sample 25 | 3 | 3 | 9 | 0 | 0
s | Sample 26 | 3 | 3 | 9 | 0 | 0
s | Sample 27 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 28 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 29 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 30 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 31 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 32 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 33 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 34 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 35 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 36 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 37 | 1.5 | 1.5 | 2.25 | 0 | 0
s | Sample 38 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 39 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 40 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 41 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Name |  |  | Acronym |  | DEFINITION
s | Sample 42 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Root Mean Square Error of Prediction |  |  | RMSEP | ▪ | Measures accuracy of prediction. Two times the RMSEP represents a 95% interval (e.g. 1% in RMSEP for 40 %w/w, value lies between 39 and 41 %w/w).
s | Sample 43 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Relative Standard Error of Prediction |  |  | RSEP [%] | ▪ | Use for model accuracy comparison, excelent model < 5%.
s | Sample 44 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Bias |  |  | Bias | ▪ | Average of residuales, Good model = 0, model over-estimating is > 0, model under-estimating is < 0.
s | Sample 45 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Standard deviation of predicted values |  |  | STDypred | ▪ | Used for model accuracy comparison due to it being relative (from 0 to 1).
s | Sample 46 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Ratio of performance to deviation |  |  | RPD | ▪ | Poor model is <= 2, Good model = 5, Excelent model is > 5.
s | Sample 47 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Standard error of prediction |  |  | SEP | ▪ | Measures precision of prediction.
s | Sample 48 | 1.28 | 1.28 | 1.6384 | 0 | 0 | Range Error Ratio |  |  | RER | ▪ | Acceptable calibration for sample screening > 4, Acceptable for quality control > 10, Acceptable for quantification > 15.
s | Sample 49 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 50 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 51 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 52 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 53 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 54 | 1.28 | 1.28 | 1.6384 | 0 | 0
s | Sample 55 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 56 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 57 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 58 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 59 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 60 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 61 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 62 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 63 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 64 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 65 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 66 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 67 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 68 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 69 | 0.75 | 0.75 | 0.5625 | 0 | 0
s | Sample 70 | 0.75 | 0.75 | 0.5625 | 0 | 0
UNITS
UNITS
Note on B4: Edwin Caballero: Refers to the data preprocessing algorithm used for the data. If DP was not used, then leave empty.
Note on I4: Edwin Caballero: Refers to partial least squares (PLS) latent variables which is analogous to principal components. If none were used, then leave empty.
Note on M4: Edwin Caballero: Spectral range from the instrument used. If none used, leave empty